## Pricing Approach
ANNEX - 3 PRICING APPROACH
For the repair and maintenance services to The British Council
S.N. | Item and description | Unit | Estimated Quantity (A) | Unit Price (B) NPR | Total Rate (A)*(B) NPR | Remarks
Man Power & Per servicing/Treatment
1 | Helper/Assistant | Per Hour | 800 |  | 0 | The per hour rate is applicable for the hours when the actual work is done and should be inclusive of all PPE equipment required for the technical to carryout the work
2 | Technical works supervisor should be technically sound, able to communicate in English and able to ensure risk assessment form measures are followed on site | per Hour | 1500
2 | General Skilled (Handyman, Plumber, Electrician, Carpenter,Mason,Painter) | Per Hour | 1000 |  | 0
3 | Special Skilled (Fire Alarm system, Security Alarm system, AC Technician) | Per Hour | 100 |  | 0
4 | Jr. Civil Engineer (Diploma in Civil Engineering with minimum 5 years relevant experience of working in relevant civil construction) | Per Hour | 10 |  | 0
5 | Jr. Electrical Engineer(Diploma in Electrical Engineering with minimum 5 years relevant experience of working in the electrical, generator, substation) | Per Hour | 10 |  | 0
6 | Jr. Mechanical Engineer(Diploma in Mechanical with minimum 5 years relevant experience of working in the HVAC system) | Per Hour | 10 |  | 0
7 | Civil Engineer(Bachelor's Degree in Civil Engineering with minimum 7 years experience of working in relevant civil construction) | Per Hour | 10 |  | 0
8 | Electrical Engineer(Bachelor's Degree in Electrical Engineering with minimum 7 years relevant experience of working in the electrical, generator, substation) | Per Hour | 10 |  | 0
9 | Mechanical Engineer(Bachelor's Degree in Mechanical with minimum 7 years relevant experience of working in the HVAC system) | Per Hour | 10 |  | 0
10 | Transportation charge(for pick up truck TATA Ace or equivalent) | Per Trip | 30 |  | 0 | The trip is within Kathmandu valley, assumed to be for drop off or pick up which will take a maximum of 2 hrs
11 | Air Conditioner | Per servicing per unit | 100 |  | 0
12 | Air Conditioner Gas change as per Capacity of the unit | Per Ton | 50 |  | 0
13 | Air purifier Service | Per servicing per unit | 20 |  | 0
14 | Water tank both roof top and underground | Per servicing per litre | 180000 |  | 0 | Servicing charger per litre(storage capacity of tank)
15 | Fire safety equipment including Fire panel and all hooters | Per servicing | 2 |  | 0
16 | PA system | Per servicing | 2 |  | 0
17 | Refilling of fire extinguisher | per refill per kg | 60 |  | 0
18 | Euro-guard servicing with filter replacement | Per servicing | 12 |  | 0
19 | Euro-guard servicing | Per servicing | 12 |  | 0
20 | Servicing of Cooker with oven (LPG/Electic) | Per servicing | 4 |  | 0
21 | Microwave Servicing(with Radiation check),Vendor should have required equipment to check radiation levels and should install safety information sticker after the test | Per servicing | 4 |  | 0 | Link to detail on how to conduct radiation check
22 | Portable Appliance Testing(PAT) ,Vendor should have required equipment to carryout PAT, should install safety information sticker after the test and carryout minor repair if required there and then to the appliance | per appliance | 200 |  | 0 | Link to detail on PAT testing
23 | Fridge | Per servicing | 4 |  | 0
24 | Water Dispensor | Per servicing | 8 |  | 0
25 | Washing Machine or Dryer | Per servicing | 4 |  | 0
26 | Generator Servicing, 150kVA should include cost for replacement of air filter, oil filter, fuel filter, replace mobil and battery water | Per servicing | 2 |  |  | Supplier should provide evidence of spare parts being original during replacement
27 | Water quality test of all parameters to confirm with Nepal drinking water quality standards as per the link provided | Per servicing | 3 |  | 0 | Link to detail list of water tests to be conducted
28 | Inverter | Per servicing per kVA | 100 |  | 0
29 | Rain water gutter, roof cleaning | Per servicing | 4 |  | 0
30 | Hot water solar panel | Per servicing | 6 |  | 0
31 | Electric geyser | Per servicing | 2 |  | 0
32 | Solar Photovoltaic System of 340Wp in a set of 24 | Per servicing | 2
33 | Chimney/fire place cleaning and servicing | Per servicing | 2 |  | 0
34 | Making copy of key (original key available) | per key | 20 |  | 0
35 | Making copy of key (original key not available) | per key | 20 |  | 0
36 | Construction of 5" bricks wall with 1st class bricks, cement and sand (1:4) including labour. | per sq.ft. | 50 |  | 0
37 | Construction of 9" bricks wall with 1st class bricks, cement and sand (1:5) including labour. | per cu.ft. | 50 |  | 0
38 | Brick Flat soling with supply of normal bricks, sand etc. | per sq.ft. | 100 |  | 0
39 | Flooring PCC (1:3:6) With aggregate, cement and local sand | per sq.ft. | 100 |  | 0
40 | Supply and laying of floor Tiles, Non-Slip, (Somany or equivalent) available in market | per sq.ft. | 100 |  | 0
41 | Supply and laying of Wall Tiles, Somany or equivalent available in market | per sq.ft. | 200 |  | 0
42 | Metal works including delivery, installation and all finishing works | per kg | 300
43 | Two coats of emuslsion paint all works complete(Asian paint premium emulsion or equivalent) | per sq.ft. | 300 |  | 0
44 | Two coats of enamel paint all works complete(Asian paint premium enamel or equivalent) | per sq.ft. | 300 |  | 0
45 | Chopra polishing works with proper sanding | per sq.ft. | 100 |  | 0
46 | Chopra polishing works for items with perimeter less than 1ft | per rft. | 100 |  | 0
47 | Supply of copper electrical wire of 1.5 sq.mm | per m | 100 |  | 0
48 | Supply of copper electrical wire of 2.5 sq.mm | per m | 100 |  | 0
49 | Supply of copper electrical wire of 4 sq.mm | per m | 100 |  | 0
50 | Supply of copper electrical wire of 6 sq.mm | per m | 100 |  | 0
51 | Supply of copper electrical wire of 10 sq.mm | per m | 100 |  | 0
52 | Supply of electrical pipe conduit 20mm | per m | 100 |  | 0
53 | Supply of electrical pipe conduit 25mm | per m | 100 |  | 0
54 | Supply of electrical pipe conduit 30mm | per m | 100 |  | 0
55 | Supply of electrical pipe conduit 32 mm | per m | 100 |  | 0
56 | Supply of electrical pipe conduit 40mm | per m | 100 |  | 0
57 | Supply of electrical pipe conduit 50mm | per m | 100 |  | 0
Spare Parts
58 | Reimbursable upon actual VAT invoices** | No Quotes required for items below GBP100 but vendor needs to provide copy of VAT/PAN invoices supporting their purchase
Total Price before VAT |  |  |  |  | 0
VAT |  |  |  |  | 0
Gross Amount Including VAT |  |  |  |  | 0
**NOTES:
The supplier provided rate should be close to the rates provided in Kathmandu Dristict Rate.
Spare parts change shall be pre-approved by The British Council | [5 empty] | VAT/PAN bill copies for all items need to be shared as evidence after procuring and only geniune parts are to be supplied.
Spare Parts above GBP 200 will require 2 quotations or justification for less than 2 quotations which shall be pre-approved by The British Council
Spare Parts above GBP 300 will require 3 quotations or justification for less than 3 quotations which shall be pre-approved by The British Council